SEWER SYSTEM 32-1-18

CHAPTER 32
SEWER SYSTEM

ARTICLE I – PRIVATE SEWER SYSTEM
DIVISION I – GENERAL PROVISIONS


32-1-1
INTERPRETATION.  The regulation of the disposal and discharge of human waste and domestic sewerage is necessary to the protection of the health and welfare of the residents of the Village, and this Chapter is to be interpreted so as to provide for that purpose.


32-1-2
RESPONSIBILITY OF OWNER OF BUILDING OR LAND.  The owner of all buildings or tracts of land where people live, work or assemble shall provide or the sanitary disposal of all human wastes and domestic sewage.  All such disposal shall be in compliance with the Private Sewage Disposal Act of Illinois, 225 ILCS 225/1 et seq., approved September 12, 1973, as from time to time amended; the Private Sewage Disposal Code, adopted and published by the Illinois Department of Public Health; and this Chapter.


32-1-3
EXCEPTION.  Nothing in this Chapter shall be interpreted so as to prevent the operation of properly designed septic tanks with dispersal fields where otherwise permitted by law.


32-1-4
RESERVED.
DIVISION II – SEWER CONNECTIONS

32-1-5
CONNECTION PERMIT.  No person shall connect or cause to be connected any pipe or tile for the discharge of effluent from any facility or system for the treatment of human waste and/or domestic sewerage unless that person shall first have obtained a connection permit from the Village Clerk as hereinafter provided.


32-1-6
CONNECTION REQUIREMENTS.  No privately operated facility or system for the treatment of human waste or domestic sewage which is designed, intended or used for the treatment of human waste or domestic sewage from more than one residential premises shall be connected to the storm sewer or drainage facility within the Village, nor shall any effluent therefrom be discharged into any storm sewer or drainage facility within the Village unless the system is installed, operated and maintained by persons licensed by the Illinois Department of Public Health to engage in such installation, operation and maintenance.


32-1-7 
SINGLE CONNECTION.  Not more than one privately operated facility or system for the treatment of human waste or domestic sewage shall be connected through a single connection to any storm sewer or drainage facility of the Village, except as hereinafter provided.


32-1-8 
APPLICATION.

(A)

Each person desiring to connect a privately operated facility or system for the treatment of human waste or domestic sewage to any storm sewer or drainage facility of the Village shall submit an application in writing to the Village Clerk which shall be upon a form supplied by the Village which shall include:
(1)
The name, mailing address and telephone number of the person submitting the application.

(2)
Street address of the premises to be served by the privately operated facility or system for the treatment of human waste or domestic sewage.

(3)
The complete legal description of the premises to be served by the privately operated facility or system for the treatment of human waste or domestic sewage.

(4)
The name, address and license number of the contractor who has or will install the privately operated facility or system for the treatment of human waste or domestic sewage.

(5)
If the system to be connected will serve more than one premises, the name, address, license number and telephone number of the person who will operate and maintain the privately operated facility or system for the treatment of human waste or domestic sewage.

(6)
If the application is for the connection of more than one privately operated sewage disposal system each serving one single family residence, a specification of the size, type and construction of the pipe to be used in the connection together with a statement of the licensed contractor that the connection will permit discharge of the maximum possible simultaneous discharge of the systems to be connected.

(B)

Each application shall be accompanied by:
(1)
A plat or drawing to scale showing the exact location of each building or other improvement thereon; the exact location of the privately operated facility or system for the treatment of human waste or domestic sewage; the exact location and course of the tile or pipe which will carry the effluent of the system; and the exact location of each shut off valve and inspection facility.
(2)
A statement in writing by the licensed contractor installing the privately operated facility or system for the treatment of human waste or domestic sewage which shall set forth the name of the manufacturer; the model or other identifying description; the serial number (if any) of the privately operated facility or system for the treatment of human waste or domestic sewage; and which shall include a certificate that the effluent from the system complies with the regulations of the Illinoi Department of Public 

Health, the Illinois Environmental Protection Agency and the United States Environmental Protection Agency for the discharge of effluent upon the surface of the ground and into the surface or ground waters of the State of Illinois and of the United States.

(C)

A copy of the complete operating instructions for the operation of the privately operated facility or system for the treatment of human waste or domestic sewage to be connected.

32-1-9 
APPLICATION FEE.  Each application shall be accompanied by an application fee of Seventy-Five Dollars ($75.00) which shall not be refundable.

32-1-10 
REVIEW OF APPLICATION.  The Village Clerk shall submit the application and accompanying documents to the licensed engineer retained by the Village for that purpose, who shall review the application and documents and determine whether the proposed privately operated sewage disposal system and connection comply with the requirements of this Chapter.  Unless the Clerk is notified that the proposed system and connection do not comply within thirty (30) days of the date the application was received, the Clerk shall issue the permit upon receipt of the permit fee as provided for hereinafter.


32-1-11 
APPROVAL FEE.  Each person whose application for connection is approved hereunder shall pay to the Village an application fee as follows:


(A)

For each connection of a privately operated sewage disposal system serving one single family residence: Five Hundred Dollars ($500.00).

(B)

For each connection of more than one privately operated sewage disposal system each serving one single family residence through a single common connection: Five Hundred Dollars ($500.00) per single family residence served.


(C)

For each connection of a privately operated sewage disposal system serving a multiple family residential building or buildings: Two Hundred Dollars ($200.00) plus Three Hundred Dollars ($300.00) for each separate residential unit.

(D)

For each connection of a privately operated sewage disposal system serving a business, commercial or industrial facility: Five Hundred Dollars ($500.00) plus Three Hundred Dollars ($300.00) for each ten population equivalent waste loading.

32-1-12 
VALVE TO PREVENT DISCHARGE OF EFFLUENT INTO STORM DRAINAGE SYSTEM.  Each connection of a privately operated sewage disposal system to the storm sewer system of the Village shall provide for a manually operated valve or mechanism which will prevent the discharge of effluent into the storm drainage system of the Village and an inspection port suitable to permit the sampling of the effluent from the system.  The valve or mechanism shall be located upon public right-of-way, or as close thereto as possible, and shall be operable from the surface of the ground.  In the event that the discharge of effluent from the privately operated sewage disposal system is determined to interfere with the proper drainage of surface waters, the valve or mechanism shall be closed and the discharge of effluent shall be prevented for so long as required for the prompt and proper drainage of surface waters.


32-1-13
CONNECTION PIPES; EXPENSE OF OWNER.  The owner of any privately operated sewage disposal system connected to the storm sewer system of the Village shall install and maintain all pipes between the system and the storm sewer system, whether or not installed on public property.  The expense of the installation and maintenance shall be upon the owner of the system.  All connecting pipes shall be of a material and design and shall be installed as prescribed by the Illinois Sewage and Disposal Code of Illinois as from time to time amended.  All excavations shall be properly filled and leveled with the surrounding surface and shall be appropriately planted to grass or other landscaping.  No pavement or street surface shall be broken or cut in connection with the installation of any piping unless it is impracticable to install a connection without such breaking or cutting.  If the cutting or breaking is necessary, the surface of the street or sidewalk shall be restored to as good or better condition as immediately prior to the breaking or cutting.

32-1-14
RESERVED.
DIVISION III - REGULATIONS

32-1-15
DISCHARGES INTO OPEN DITCH OR STREAM PROHIBITED.  No person shall discharge human waste or domestic sewerage, nor the effluent from any facility or system for sanitary treatment of human waste or domestic sewerage, upon the surface of the ground or into any open ditch or stream.


32-1-16
DISCHARGE INTO DRAINAGE FACILITY.

(A)

No person shall discharge human waste or domestic sewerage into any drainage facility, storm sewer or drainage system within the Village.


(B)

No person shall discharge the effluent from any facility or system or sanitary treatment of human waste or domestic sewerage into any storm sewer or drainage tile within the Village unless the discharge is in compliance with the Private Sewage Disposal Act of Illinois, approved September 12, 1973, as from time to time amended, the Private Sewage Disposal Code, adopted and published by the Illinois Department of Public Health and this Chapter, and the person shall have first received a connection permit as provided by this Chapter.


(C)

Class I effluent, as defined in Section 905.100 of the Private Sewage Disposal Licensing Code of Illinois, 77 Illinois Administrative Code, Chapter I, Subchapter r, Part 905, as from time to time amended, from an aerobic treatment plant listed by the National Sanitation Board for Class I effluent may be discharged into the storm sewers and common drains of the Village, provided that the same is operated in accordance with the Private Sewage and Disposal Licensing Code of Illinois, and the owner thereof shall have first secured a connection permit under this Chapter.


32-1-17
DISCHARGE OF HAZARDOUS SUBSTANCES PROHIBITED.  It shall be an offense for an owner of a privately operated sewage disposal system to discharge any effluent into the storm sewer system of the Village which contains any hazardous substance or which does not meet the standards of as Class I effluent.


32-1-18
VIOLATION.  The Village Attorney is authorized to prosecute violations of this Chapter and to bring actions to enjoin the violation of the provisions of this Chapter.


32-1-19
PENALTY.  Each violation of this Chapter shall be punished by the imposition of a fine as provided in Section 1-1-20.

32-5

