WATER SYSTEM 38-3-1

CHAPTER 38
WATER SYSTEM

ARTICLE I – GENERALLY

38-1-1 
DEFINITIONS.  For the purpose of this Chapter, the following definitions shall apply unless the context clearly indicates or requires a different meaning.


“Business Service”.  Water service provided to a business unit primarily for use in connection with or incidental to the business, commercial or professional enterprise conducted therein.  Business Service shall not mean water service provided to a dwelling unit in which a home occupation is lawfully conducted unless water is consumed in the course and conduct of the home occupation.  Where one or more business, commercial or professional enterprises are conducted in separate units contained in a single structure or located upon one lot of real estate, then each such enterprise shall constitute a separate service.

“Business Unit”.  The premises occupied by and used in the course of a separate business, commercial or professional enterprise.


“Dwelling Unit”.  A separate single family residence, apartment, suite of rooms, house, mobile home or other structure used as a permanent residence for one or more people living as a family whether or not the persons are related.

“Industrial Service”.  Any water service connection to a premises used for industrial purposes or business services in which the water usage is reasonably expected to exceed three thousand (3,000) gallons per month or in which the consumption of water is an integral part of the industrial use or the business service provided.  Industrial Service includes, but is not limited to, agricultural chemical plants, car washes, automobile service stations and repair shops, and self-service or custom laundries.  Meters will be required to be installed for all such services.


“Residential Service”.  Water service provided to a dwelling unit primarily for the domestic use of the person residing therein and/or the pipes and equipment used to provide such service where one or more dwelling units are contained within a structure or located upon one lot of real estate.  Each such dwelling unit shall constitute a separate residential service.


“Water Service Connection”.  The supply pipe connected to the main water distribution system; a reverse check-valve and shut-off valve.  Water Service Connection shall not include pipes extending between the shut-off valve and the premises served.


38-1-2 
CONNECTION TO WATER SYSTEM.

(A)

Application.  A person seeking to make such a water service connection shall first make written application for a permit, on the form hereby adopted by the Village, and attached to this Chapter as Appendix A; shall pay a non-refundable application fee of Twenty-Five Dollars ($25.00); shall also tender Six Hundred Dollars ($600.00) for the water service connection fee and One Hundred Forty Dollars ($140.00) for the water meter fee, which water service connection fee and water meter fee shall be refunded should the application not be approved.  A water service application must be filed at the time of application for a building permit.

(B)

Connection Components.  All water service connections shall consist of a supply pipe attached to the main water distribution system and an approved shut-off valve and such other components as may be required for the protection of the water supply of the 

Village.  All components of the water service connection shall meet or exceed the specifications as from time to time are adopted by resolution of the Board of Trustees.  The shut-off valve shall be installed so as to be protected from damage due to frost or freezing conditions and shall be located in so far as is feasible within the street right-of-way of the Village and/or between the curb of any street right-of-way of the Village and the adjacent sidewalk.  In no case shall any shut-off valve be located beneath any driveway, pavement or sidewalk.  The applicant shall be responsible for the expense of materials and labor required for connection.  After the water service connection has been inspected and approved, the water service connection and its component parts shall be the property of the Village and shall be maintained by the Village.  The Village shall have an irrevocable easement to go upon the premises served by the water service connection and shall not be liable to the owner of the premises for any damage to property or persons resulting from the maintenance of the water service connection.  (Ord. No. 2017-11; 12-04-17)


(C)

Installation Criteria.  A water service connection shall be installed in a trench or excavation separate from any trench or excavation containing any utility lines and shall be separated from any sewer or drain as required by any applicable regulations of any state, federal or public health district regulation.  All water service connections shall be installed under the supervision of the Village or its authorized representative and shall not be covered until inspected and approved by the Village Building Inspector or Water Committee or their authorized representatives.


(D)

Supply Pipes Maintained.  All supply pipes extending between the water service connection and the premises served shall be the property of and shall be maintained by the record owner of the premises served, provided that the Village is authorized to make such repairs to the Village water supply and to hold the record owner of the premises liable for the cost thereof.

(E)

Resale of Water.  No person shall resell or distribute water received through the water supply of the Village to premises other than that served by a water service connection.  Nothing in this Division shall be interpreted as preventing the owner of a premises containing one or more separate dwellings or business units from passing on the charge made for water service to the tenant of the unit, provided that no additional charge is made therefore.

(F)

Shut-Off Valve.  No person, except with authorization of the Boards of Trustees of the Village, shall operate the shut-off valve on any water connection service.

(Ord. No. 04-06; 10-04-04)
ARTICLE II – USER CHARGES

38-2-1 

RESERVED.  (Ord. No. 2016-03; 11-07-16)


38-2-2 

RESIDENTIAL SERVICE.  

(A)

The owner of each dwelling unit served by the water system connection shall pay to the Village a flat monthly user fee of Twenty-Two Dollars ($22.00) beginning January 1, 2019.  It will increase on this schedule: Twenty-Four Dollars ($24.00) beginning January 1, 2020; Twenty-Six Dollars ($26.00) beginning January 1, 2022; Twenty-Eight Dollars ($28.00) beginning January 1, 2023; Thirty Dollars ($30.00) beginning January 1, 2024.  Each separate dwelling unit contained in a structure shall be a separate residential service for which a separate user’s fee will be paid.  In the event that the Board of Trustees determines that the usage of water by any of the dwelling units is reasonably expected to exceed three thousand (3,000) gallons per month, the Board of Trustees may order that a water meter with reverse flow design be installed so as to measure all water consumed by the residential unit.  If a meter is so installed then the monthly user fee for such service shall be equal to a facilities charge plus a usage charge of Fifty Cents ($0.50) per one hundred (100) gallons, or any part thereof, in excess of three thousand (3,000) gallons used during the previous month.  The facilities charge shall be equal to the flat monthly fee.  (Ord. No. 2020-08; 10-26-20)

(B)

Un-Metered Residential Service Annual Payment and Discount.  User fees for flat residential service may be paid annually.  Annual payments shall be subject to the same due dates as January monthly payments.  The charge shall be equal to the sum of all twelve (12) flat monthly fees for the calendar year less a five percent (5%) discount.  The charge shall be rounded down to the nearest whole dollar.  Payment must be received before the due date to receive the five percent (5%) discount.  No refund shall be issued for any payment that has received the five percent (5%) discount.  (Ord. No. 2018-13; 12-03-18)


38-2-3

BUSINESS SERVICE.  The owner of the premises containing a business unit or units served by the water system connection shall pay to the Village a flat monthly user’s fee of Twenty-Two Dollars ($22.00) beginning January 1, 2019.  It will increase on this schedule: Twenty-Four Dollars ($24.00) beginning January 1, 2020; Twenty-Six Dollars ($26.00) beginning January 1, 2022; Twenty-Eight Dollars ($28.00) beginning January 1, 2023; Thirty Dollars ($30.00) beginning January 1, 2024.  Each separate business unit contained in a structure shall be a separate business service for which a separate user’s fee shall be paid.  In the event that the Board of Trustees determines that the business usage of water is reasonably expected to exceed three thousand (3,000) gallons per month, then the Board of Trustees may order that a water meter be installed so as to measure all water consumed on the business premises.  If a meter is so installed then the monthly user fee for such service shall be equal to a facilities charge plus a usage charge of Fifty Cents ($0.50) per one hundred (100) gallons, or any part thereof, in excess of three thousand (3,000) gallons used during the previous month.  The facilities charge shall be equal to the flat monthly fee.  (Ord. No. 2020-08; 10-26-20)

38-2-4 

INDUSTRIAL SERVICE.  All industrial service shall be metered.  The monthly user fee for industrial service shall be equal to a facilities charge plus a usage charge of Sixty Cents ($0.60) per one hundred (100) gallons, or any part thereof, in excess of three thousand (3,000) gallons used during the previous month.  Beginning January 1, 2019, the monthly facilities charge shall be Twenty-Two Dollars ($22.00).  It will increase on this schedule: Twenty-Four Dollars ($24.00) per month beginning January 1, 2020; Twenty-Six Dollars ($26.00) per month beginning January 1, 2022; Twenty-Eight Dollars ($28.00) per month beginning January 1, 2023; Thirty Dollars ($30.00) per month beginning January 1, 2024.  (Ord. No. 2020-08; 10-26-20)


38-2-5 

OCCUPANT LIABILITY.  The occupant of the premises served by the Village water supply system shall be jointly and severally liable with the record owner for the user fees and charges assessed hereunder.  Upon notice that the premises served are occupied by other than the record owner of the premises, the Village may direct water bills to the occupant of any dwelling unit or business unit.  No act of the Village pursuant to this Section shall be deemed to be a waiver of its right to collect user fees or other charges from the owner of the premises or to enforce its lien, therefore.


38-2-6 
MAINTENANCE CHARGES.  If the Village is required to perform work on supply pipes between the water service connection and the premise served, or if access to the water service connection is obstructed by the planting or structure placed by the owner or occupant of the premises, the cost of labor and materials to perform such work or remove such obstruction shall be a charge against the occupant and owner of the premises served.  Labor and materials for maintenance shall be provided at the following costs:


(A)

One man and backhoe: Sixty-Five Dollars ($65.00) per hour.


(B)

Materials will be paid for by the owner or occupant, not the Village.

(Ord. No. 2018-10; 10-01-18)

38-2-7

FEES DUE.  Monthly user fees are due in advance on the first (1st) day of each month.  Metered service fees and maintenance charges are due upon billing therefore.  Monthly user fees shall become delinquent on the tenth (10th) day of the following month for which service was provided.  Metered service fees and maintenance charges shall become delinquent ten (10) days after billing therefore.  The Village shall have the right to terminate service to any premises in the event that all fees and charges have not been paid within ten (10) days of becoming delinquent, as herein provided.  A delinquency penalty of Ten Dollars ($10.00) shall be assessed against each delinquent account.  (Ord. No. 2016-03; 11-07-16)

38-2-8

RECONNECTION.  If service has been terminated to any premises for any reason, including delinquent payments, then the service shall be reconnected only if fees and charges therefore are currently paid in full and a reconnection charge of Twenty-Five Dollars ($25.00) has been paid.  In the event that the service has been terminated for nonpayment, the Village Clerk is authorized to require the applicant for reconnection deposit an amount equal to two (2) months user’s fees as a security deposit for the payment of water fees and charges.  Reconnection occurring prior to 7:00 A.M. or after 3:30 P.M. weekdays or on Saturdays, Sundays or on holidays shall be subject to a Fifteen Dollar ($15.00) overtime charge in addition to the reconnection fee.

38-2-9

NONRESIDENT SERVICE.  Water service may be extended to premises outside of the corporate limits of the Village if the Board of Trustees determines that it is in the best interests of the Village that such service be extended.  Any such service shall be metered service.  The monthly user fee for non-resident service shall be equal to a facilities charge plus a usage charge of Sixty Cents ($0.60)  per one hundred (100) gallons, or any part thereof, in excess of three thousand (3,000) gallons used during the previous month.  Beginning January 1, 2019, the monthly facilities charge shall be Twenty-Five Dollars ($25.00).  It will increase on this schedule: Twenty-Seven Dollars ($27.00) per month beginning January 1, 2020; Twenty-Nine Dollars ($29.00) per month beginning January 1, 2022; Thirty-One Dollars ($31.00) per month beginning January 1, 2023; Thirty-Three Dollars ($33.00) per month beginning January 1, 2024.  In the event of emergency or excess demand on the Village system, the service shall be subject to interruption, if restrictions on water use are imposed on the Village residents.  (Ord. No. 2020-08; 10-26-20)


38-2-10
BULK WATER SALES.  To the extent that a party desires to purchase bulk sales of water the size of which exceeds normal existing delivery mechanisms and the Village’s licensed Water Operator determines that there is sufficient capacity in the water system to allow for such bulk sales of water without compromising customary usage for existing customers, then the Village may, at the Village President’s direction, elect to sell to such party, subject to the conditions set forth in this Article.  Such parties may not resell said water; additionally, such party must provide a minimum forty-eight (48) hour notice to the Public Works department before the water is to be consumed (excluding holidays).  The rate to be charged is Fifteen Dollars ($15.00) per one thousand (1,000) gallons of water.  All sums shall be paid in full at delivery.  All bulk water is to be dispensed into closed topped containers and sealed in such a manner to prevent spillage, and parties shall remove such containers from the bulk water dispensing site.  (Ord. No. 2023-06; 11-06-23)

ARTICLE III - CROSS-CONNECTION ADMINISTRATION


38-3-1 
APPROVED BACKFLOW DEVICE.  All plumbing installed within the Village shall be installed in accordance with the Illinois Plumbing Code, 77 Ill.  Adm. Code 890.  If, in accordance with the Illinois Plumbing Code or in the judgment of the Inspector, an approved backflow prevention device is necessary for the safety of the public water supply system, the Inspector shall give notice to the water customer to install such an approved device immediately.  The water customer shall, at his own expense, install such an approved device at a location and in a manner in accordance with the Illinois Plumbing Code, Illinois Environmental Protection Agency and all applicable local regulations, and shall have inspections and tests made of such approved devices upon installation and as required by the Illinois Plumbing Code, Illinois Environmental Protection Agency and local regulations.


38-3-2 
CROSS-CONNECTION PROHIBITED; EXCEPTION.  No person shall establish or permit to be established or maintain or permit to be maintained any connection whereby a private, auxiliary or emergency water supply other than the regular public water supply enters the supply or distribution system of the Village, unless such private, auxiliary or emergency water supply and the method of connection and use of such supply shall have been approved by the Superintendent and the Illinois Environmental Protection Agency.


38-3-3 
INVESTIGATIONS BY SUPERINTENDENT.  It shall be the duty of the Superintendent to cause surveys and investigations to be made of commercial industrial and other properties served by the public water supply to determine whether actual or potential hazards to the public water supply may exist.  Such surveys and investigations shall be made a matter of public record and shall be repeated at least every two (2) years or as often as the Inspector shall deem necessary.  Records of such surveys shall be maintained and available for review for a period of at least five (5) years.

38-3-4 
RIGHT TO ENTER PREMISES.  The approved cross-connection control device inspector shall have the right to enter at any reasonable time any property served by a connection to the public water supply or distribution system for the purpose of verifying the presence or absence of cross-connections and that the Inspector or his authorized agent shall have the right to enter at any reasonable time any property served by a connection to the public water supply or distribution system for the purpose of verifying information submitted by the customer regarding the required cross-connection control inspection.  On demand, the owner, lessee or occupants of any property so served shall furnish to the Inspector any information which he may request regarding the piping system or systems or water use on such property.  The refusal of such information when demanded shall, within the discretion of the Inspector, be evidence of the presence of improper connections as provided in this Chapter.


38-3-5
NOTICE TO CUSTOMER; RECONNECT FEE.


(A)

The Village Clerk is hereby authorized and directed to discontinue, after reasonable notice to the occupant thereof, the water service to any property wherein any 

connection in violation of the provisions of this Chapter is known to exist, and to take such other precautionary measures as he may deem necessary to eliminate any danger of contamination of the public water supply distribution mains.  Water service to such property shall not be restored until such conditions have been eliminated or corrected in compliance with the provisions of this Chapter and until a reconnection fee of One Hundred Dollars ($100.00) is paid to the Village Clerk.


(B)

Immediate disconnection with verbal notice can be effected when the Inspector is assured that imminent danger of harmful contamination of the public water supply system exists.  Such action shall be followed by written notification of the cause of disconnection.  Immediate disconnection without notice to any party can be effected to prevent actual or anticipated contamination or pollution of the public water supply, provided that, in the reasonable opinion of the Inspector or the Illinois Environmental Protection Agency, such action is required to prevent actual or potential contamination or pollution of the public water supply.


(C)

The public water supply, the Inspector or the agents or assigns shall not be liable to any customer for any injury, damages or lost revenues which may result from termination of the customer's water supply in accordance with the terms of this Chapter, whether or not said termination was with or without notice.


38-3-6 
CONTAMINATIONS COST AND THE CONSUMER.  The consumer responsible for backsiphoned material or contamination through backflow, if contamination of the potable water supply system occurs through an illegal cross-connection or an improperly installed, maintained or repaired device, or a device which has been bypassed, shall bear the cost of clean-up of the potable water supply system.


38-3-7  -  38-3-10 
RESERVED.
ARTICLE IV - CROSS-CONNECTION CONTROL CODE


38-4-1   
PURPOSE.  The purpose of these Rules and Regulations is:


(A)

To protect the public water supply system from contamination or pollution by isolating within the customer's water system contaminants or pollutants which could backflow through the service connection into the public water supply system.


(B)

To promote the elimination or control of existing cross-connections, actual or potential, between the public or consumer's potable water system and non-potable water systems, plumbing fixtures and sources or systems containing substances of unknown or questionable safety.


(C)

To provide for the maintenance of a continuing program of cross-connection control which will prevent the contamination or pollution of the public and consumer's potable water systems.


38-4-2
APPLICATION.  These Rules and Regulations shall apply to all premises served by the public potable water supply system of the Village.

38-4-3 
RESPONSIBILITY OF OWNER.  The owner or official custodian shall be responsible for protection of the public water supply system from contamination due to backflow or back-siphonage of contaminants through the customers water service connection.  If, in the judgment of the Superintendent or his authorized representative, an approved backflow prevention device is necessary for the safety of the public water supply system, the Superintendent shall give notice to the consumer to install such approved backflow prevention device at each service connection to the premises.  The consumer shall immediately install such approved device or devices at his own expense; failure, refusal or inability on the part of the consumer to install such device or devices immediately shall constitute grounds for discontinuing water service to the premises until such device or devices have been installed.  The consumer shall retain records of installation, maintenance, testing and repair as required in Section 38-4-7(D) below for a period of at least five (5) years.  The Superintendent may require the consumer to submit a cross-connection inspection report to the Village to assist in determining whether or not service line protection will be required.  All cross-connection inspections shall be conducted by a Cross-Connection Control Device Inspector certified by the Illinois Environmental Protection Agency.


38-4-4 
DEFINITIONS. The following definitions shall apply in the interpretation and enforcement of these regulations:

“Fixed Proper Air Gap” means the unobstructed vertical distance through the free atmosphere between the water discharge point and the flood level rim of the receptacle.

“Agency” means Illinois Environmental Protection Agency.

“Approved” means backflow prevention devices or methods approved by the Research Foundation for Cross-Connection Control of the University of Southern California, Association of 

State Sanitary Engineers, American Water Works Association, American National Standards Institute or certified by the National Sanitation Foundation.

“Auxiliary Water System” means any water source or system on or available to the premises other than the public water
supply system and includes the water supplied by the system. These auxiliary waters may include water from another purveyor's public water supply system; or water from a source such as wells, lakes, or streams or process fluids; or used water. These waters may be polluted or contaminated or objectionable or constitute a water source or system over which the water purveyor does not have control.

“Backflow” means the backflow of water or other liquids, mixtures, or substances into the distribution pipes of a potable water system from any source other than the intended source of the potable water supply.

“Backflow Prevention Device” means any device, method, or type of construction intended to prevent backflow into a potable water system.  All devices used for backflow prevention in Illinois must meet the standards of the Illinois Plumbing Code and the Illinois Environmental Protection Agency.

“Consumer” or “Customer” means the owner, official custodian or person in control of any premises supplied by or in any manner connected to a public water system.

“Consumer's Water System” means any water system located on the customer's premises.  A building plumbing system is considered to be a customer's water system.

“Contamination” means an impairment of the quality of the water by entrance of any substance to a degree which could create a health hazard.

“Cross-Connection” means any physical connection or arrangement between two otherwise separate piping systems, one of which contains potable water and the other a substance of unknown or questionable safety or quality, whereby there may be a flow from one system into the other.

“Direct Cross-Connection” means a cross-connection formed when a water system is physically joined to a source of unknown or unsafe substance.

“Indirect Cross-Connection” means a cross-connection through which an unknown substance can be forced, drawn by vacuum or otherwise introduced into a safe potable water system.

“Double Check Valve Assembly” means an assembly composed of single, independently acting check valves approved under ASSE Standard 1015.  A double check valve assembly and suitable connections for testing the water-tightness of each check valve.

“Health Hazard” means any condition, device or practice in a water system or its operation resulting from a real or potential danger to the health and well-being of consumers.  The word "severe" as used to qualify "health hazard" means a hazard to the health of the user that could be expected to result in death or significant reduction in the quality of life.

“Inspection” means a plumbing inspection to examine carefully and critically all materials, fixtures, piping and appurtenances, appliances and installations of a plumbing system for compliance with requirements of the Illinois Plumbing Code, 77 Ill.  Admn.  Code 890.

“Non-potable Water” means water not safe for drinking, personal, or culinary use as determined by the requirements of 35 Ill.  Adm. Code 604.

“Plumbing” means the actual installation, repair, maintenance, alteration or extension of a plumbing system by any person.  Plumbing includes all piping, fixtures, appurtenances and appliances for a supply of water for all purposes, including without limitation lawn sprinkler systems, from the source of a private water supply on the premises or from the main in the street, alley or at the curb to, within and about any building or buildings where a person or persons live, work or assemble.  Plumbing includes all piping, from discharge of pumping units to and including pressure tanks in water supply systems.  Plumbing includes all piping, fixtures, appurtenances, and appliances for a building drain and a sanitary drainage and related ventilation system of any building or buildings where a person or persons live, work or assemble from the point of connection of such building drain to the building sewer or private sewage disposal system five (5) feet beyond the foundation walls.

“Pollution” means the presence of any foreign substance (organic, inorganic, radiological, or biological) in water that tends to degrade its quality so as to constitute a hazard or impair the usefulness of the water.

“Potable Water” means water which meets the requirements of 35 Ill. Adm. Code 604 for drinking, culinary, and domestic purposes.

“Potential Cross-Connection” means a fixture or appurtenance with threaded hose connection, tapered spout, or other connection which would facilitate extension of the water supply line beyond its legal termination point.

“Process fluid(s)” means any fluid or solution which may be chemically, or biologically or otherwise contaminated or polluted in a form or concentration such as would constitute a health, pollutional, or system hazard if introduced into the public or a consumer's potable water system.  This includes but is not limited to:


(A)

polluted or contaminated waters;


(B)

process waters;


(C)

used waters originating from the public water supply system which may have deteriorated in sanitary quality;


(D)

cooling waters;


(E)

questionable or contaminated natural waters taken from wells, lakes, streams, or irrigation systems;


(F)

chemicals in solution or suspension;


(G)

oils, gases, acids, alkalis and other liquid and gaseous fluids used in industrial or other processes, or for fire fighting purposes.

“Public Water Supply” means all mains, pipes and structures through which water is obtained and distributed to the public, including wells and well structures, intakes and cribs, pumping stations, treatment plants, reservoirs, storage tanks and appurtenances, collectively or 

severally, actually used or intended for use for the purpose of furnishing water for drinking or general domestic use and which serve at least 15 service connections or which regularly serve at least 25 persons at least 60 days per year.  A public water supply is either a "community water supply" or a "non-community water supply".

“Reduced Pressure Principle Backflow Prevention Device” means a device containing a minimum of two independently acting check valves together with an automatically operated pressure differential relief valve located between the two check valves and approved under ASSE Standard 1013.  During normal flow and at the cessation of normal flow, the pressure between these two checks shall be less than the supply pressure.  In case of leakage of either check valve, the differential relief valve, by discharging to the atmosphere, shall operate to maintain the pressure between the check valves at less than the supply pressure.  The unit must include tightly closed shutoff valves located at each end of the device, and each device shall be fitted with properly located test cocks.

“Service Connection” means the opening, including all fittings and appurtenances, at the water main through which water is supplied to the user.

“Survey” means the collection of information pertaining to a customer's piping system regarding the location of all connections to the public water supply system and must include the location, type and most recent inspection and testing date of all cross-connection control devices and methods located within that customer's piping system.  The survey must be in written form, and should not be an actual plumbing inspection.

“System Hazard” means a condition through which an aesthetically objectionable or degrading material not dangerous to health may enter the public water supply system or a consumer's potable water system.

“Used Water” means any water supplied by a public water supply system to a consumer's water system after it has passed through the service connection and is no longer under the control of the water supply official custodian.

“Water Purveyor” means the owner or official custodian of a public water system.


38-4-5
WATER SYSTEM.


(A)

The water system shall be considered as made up of two parts:  the public water supply system and the consumer's water system.


(B)

The public water supply system shall consist of the source facilities and the distribution system, and shall include all those facilities of the potable water system under the control of the Superintendent up to the point where the consumer's water system begins.


(C)

The source shall include all components of the facilities utilized in the production, treatment, storage, and delivery of water to the public water supply distribution system.


(D)

The public water supply distribution system shall include the network of conduits used to deliver water from the source to the consumer's water system.


(E)

The consumer's water system shall include all parts of the facilities beyond the service connection used to convey water from the public water supply distribution system to points of use.


38-4-6
CROSS-CONNECTION PROHIBITED.


(A)

Connections between potable water systems and other systems or equipment containing water or other substances of unknown or questionable quality are prohibited except when and where approved cross-connection control devices or methods are installed, tested and maintained to insure proper operation on a continuing basis.


(B)

No physical connection shall be permitted between the potable portion of a supply and any other water supply not of equal or better bacteriological and chemical quality as determined by inspection and analysis by the Agency.


(C)

There shall be no arrangement or connection by which an unsafe substance may enter a supply.


38-4-7
SURVEY AND INVESTIGATIONS.


(A)

The consumer's premises shall be open at all reasonable times to the approved cross-connection control device inspector for the inspection of the presence or absence of cross-connections within the consumer's premises, and testing, repair and maintenance of cross-connection control devices within the consumer's premises.


(B)

On request of the Superintendent, or his authorized representative, the consumer shall furnish information regarding the piping system or systems or water use within the customer's premises.  The consumer's premises shall be open at all reasonable times to the Superintendent for the verification of information submitted by the consumer to the public water supply custodian regarding cross-connection inspection results.


(C)

It shall be the responsibility of the water consumer to arrange periodic surveys of water use practices on his premises to determine whether there are actual or potential cross-connections to his water system through which contaminants or pollutants could backflow into his or her public potable water system.  All cross-connection control or other plumbing inspections must be conducted in accordance with Ill.  Comp.  Stat., Ch. 225, Sec. 320/3.


(D)

It is the responsibility of the water consumer to prevent backflow into the public water system by ensuring that:

(1)
All cross-connections are removed; or approved cross-connection control devices are installed for control of backflow and back-siphonage.

(2)
Cross-connection control devices shall be installed in accordance with the manufacturer's instructions.

(3)
Cross-connection control devices shall be inspected at the time of installation and at least annually by a person approved by the Agency as a cross-connection control device inspector  (CCCDI).  The inspection of mechanical devices shall include physical testing in accordance with the manufacturer's instructions.

(4)
Testing and Records

(a)
Each device shall be tested at the time of installation and at least annually or more frequently if recommended by the manufacturer.

(b)
Records submitted to the community public water supply shall be available for inspection by Agency personnel in accordance with Ill.  Comp.  Stat., Ch. 415, Sec. 5/4(e).

(c)
Each device shall have a tag attached listing the date of most recent test, name of CCCDI, and type and date of repairs.

(d)
A maintenance log shall be maintained and include:

1.
date of each test;

2.
name and approval number  of  person  performing the test;

3.
test results;

4.
repairs or servicing required;

5.
repairs and date completed; and

6.
serving performed and date completed.


38-4-8
WHERE PROTECTION IS REQUIRED.

(A)

An approved backflow device shall be installed on all connections to the public water supply as described in the Plumbing Code, 77 Ill. Adm. Code 890 and the Agency's regulations 35 Ill. Adm. Code 680.  In addition, an approved backflow prevention device shall be installed on each service line to a consumer's water system serving premises, where in the judgment of the Superintendent, actual or potential hazards to the public water supply system exist.


(B)

An approved backflow prevention device shall be installed on each service line to a consumer's water system serving premises where the following conditions exist:

(1)
Premises having an auxiliary water supply, unless such auxiliary supply is accepted as an additional source by the Superintendent and the source is approved by the Illinois Environmental Protection Agency.

(2)
Premises on which any substance is handled which can create an actual or potential hazard to the public water supply system. This shall include premises having sources or system containing process fluids or waters originating from the public water supply system which are no longer under the sanitary control of the Superintendent.

(3)
Premises having internal cross-connections that, in the judgment of the Superintendent, are not correctable or intricate plumbing arrangements which make it impractical to determine whether or not cross-connections exist.

(4)
Premises where, because of security requirements or other prohibitions or restrictions, it is impossible or impractical to make a complete cross-connection survey.

(5)
Premises having a repeated history or cross-connections being established or reestablished.


(C)

An approved backflow device shall be installed on all connections to the public water supply as described in the Plumbing Code, 77 Ill. Adm. Code 890 and the Agency's regulations 35 Ill. Adm. Code 653.  In addition, an approved backflow prevention device shall be installed on each service line to a consumer's water system serving, but not necessarily limited to, the following types of facilities unless the Superintendent determines that no actual or potential hazard to the public water supply system exists:

(1)
Hospitals, mortuaries, clinics, nursing homes.

(2)
Laboratories.

(3)
Piers, docks, waterfront facilities.

(4)
Sewage treatment plants, sewage pumping stations or storm water pumping stations.

(5)
Food or beverages processing plants.

(6)
Chemical plants.




(7)
Metal plating industries.




(8)
Petroleum processing or storage plants.




(9)
Radioactive material processing plants or nuclear reactors.




(10)
Car washes.




(11)
Pesticide, or herbicide or extermination plants and trucks.




(12)
Farm service and fertilizer plants and trucks.


38-4-9
TYPE OF PROTECTION REQUIRED.


(A)

The type of protection required under Section 38-4-8 of these regulations shall depend on the degree of hazard which exists as follows:

(1)
An approved fixed proper air gap separation shall be installed where the public water supply system may be contaminated with substances that could cause a severe health hazard.

(2)
An approved fixed proper air gap separation or an approved reduced pressure principle backflow prevention assembly shall be installed where the public water supply system may be contaminated with a substance that could cause a system or health hazard.

(3)
An approved fixed proper air gap separation or an approved reduced pressure principle backflow prevention assembly or a double check valve assembly shall be installed where the public water supply system may be polluted with substances that could cause a pollution hazard not dangerous to health. 


(B) 

The type of protection required under Section 38-4-8 of these regulations shall be an approved fixed proper air gap separation or an approved reduced pressure principle backflow prevention device. 


(C) 

Where a public water supply or an auxiliary water supply is used for a fire protection system, reduced pressure principle backflow preventers shall be installed on fire safety systems connected to the public water supply when:

(1)
The fire safety system contains antifreeze, fire retardant or other chemicals;

(2)
water is pumped into the system from another source; or

(3)
water flows by gravity from a non-potable source;  or  water  can be pumped into the fire safety system from any other source;

(4)
there is a connection whereby another source  can  be  introduced into the fire safety system.


(D)

All other fire safety systems connected to the potable water supply shall be protected by a double check valve assembly on metered service lines and a double detector check valve assembly on unmetered service lines.


38-4-10 
BACKFLOW PREVENTION DEVICES.


(A)

All backflow prevention devices or methods required by these rules and regulations shall be approved by the Research Foundation for Cross-Connection Control of the University of Southern California, American Water Works Association, American Society of Sanitary Engineering, or American National Standards Institute or certified by the National Sanitation Foundation to be in compliance with applicable industry specification.


(B)

Installation of approved devices shall be made in accordance with the manufacturer's instructions.  Maintenance as recommended by the manufacturer of the device shall be performed.  Manufacturer's maintenance manual shall be available on-site.


38-4-11 
INSPECTION AND MAINTENANCE.

(A)

It shall be the duty of the consumer at any premises on which backflow prevention devices required by these regulations are installed to have inspection, tests, maintenance and repair made in accordance with the following schedule or more often where inspections indicate a need or are specified in manufacturer's instructions.

(1)
Fixed proper air gap separations shall be inspected to document that a proper vertical distance is maintained between the discharge point of the service line and the flood level rim of the receptacle at the time of installation and at least annually thereafter.  Corrections to improper or by passed air gaps shall be made within 24 hours.

(2)
Double check valve assemblies shall be inspected and tested at time of installation and at least annually thereafter, and required service performed within five (5) days.

(3)
Reduced pressure principle backflow prevention assemblies shall be tested at the time of installation and at least annually or more frequently if recommended by the manufacturer, and required service performed within five (5) days.


(B) 
      
Testing shall be performed by a person who has been approved by the Agency as competent to service the device.  Proof of approval shall be in writing.


(C)

Each device shall have a tag attached listing the date of most recent test or visual inspection, name of tester, and type and date of repairs.


(D)

A maintenance log shall be maintained and include:

(1)
date of each test or visual inspection;

(2)
name and  approval  number  of  person  performing  the  test  or visual inspection;

(3)
test results;

(4)
repairs or servicing required;

(5)
repairs and date completed; and

(6)
servicing performed and date completed.


(E)

Whenever backflow prevention devices required by these regulations are found to be defective, they shall be repaired or replaced at the expense of the consumer without delay as required by Section 38-4-1(A).


(F)

Backflow prevention devices shall not be bypassed, made inoperative, removed or otherwise made ineffective without specific authorization by the Superintendent.


38-4-12
BOOSTER PUMPS.


(A)

Where a booster pump has been installed on the service line to or within any premises, such pump shall be equipped with a low pressure cut-off device designed to shut-off the booster pump when the pressure in the service line on the suction side of the pump drops to 20 psi or less.


(B)

It shall be the duty of the water consumer to maintain the low pressure cut-off device in proper working order and to certify to the Superintendent, at least once a year, that the device is operable.


38-4-13
VIOLATIONS AND PENALTIES.

(A)

The Superintendent shall deny or discontinue, after reasonable notice to the occupants thereof, the water service to any premises wherein any backflow prevention device required by these regulations is not installed, tested, maintained and repaired in a manner acceptable to the Superintendent, or if it is found that the backflow prevention device has been removed or bypassed, or if an unprotected cross-connection exists on the premises, or if a low pressure cut-off required by these regulations is not installed and maintained in working order.


(B)

Water service to such premises shall not be restored until the consumer has corrected or eliminated such conditions or defects in conformance with these regulations and to the satisfaction of the Superintendent, and the required reconnection fee is paid.


(C)

Neither the Village, the Superintendent, or its agents or assigns, shall be liable to any customers of the Village for any injury, damages or lost revenues which may result from termination of said customer's water supply in accordance with the terms of this Chapter, whether or not said termination of the water supply was with or without notice.


(D)

The consumer responsible for back-siphoned material or contamination through backflow, if contamination of the potable water supply system occurs through an illegal cross-connection or an improperly installed, maintained or repaired device, or a device which has been bypassed, must bear the cost of clean-up of the potable water supply system.


(E)

Any person found to be violating any provision of this Code shall be served with written notice stating the notice of the violation and providing a reasonable time limit for the satisfactory correction thereof.  The offender shall, within the period of time stated in such notice, permanently cease all violation.


(F)

Any person violating any of the provisions of this Code in addition to the fine provided, shall become liable to the Village for any expense, loss or damage occasioned by the Village by reason of such violation, whether the same was caused before or after notice.


38-4-14  -  38-4-20

RESERVED.

ARTICLE V - EXTENSION OF MAINS


38-5-1 
DETERMINATION OF WHO PAYS EXPENSE OF EXTENSION. The Village Board shall first determine if an extension of water main is economically feasible based on the estimated cost of the extension and the number of existing potential users that will use water along the extension.  If the extension is economically feasible then the Village may install and pay the cost of the extension at the discretion of the Village Board.  If the Village elects not to pay the cost of extending the water main then the person or persons desiring water service shall install the extension at their own personal expense upon written consent by the Village Board.  The Village shall not pay for any extensions to an undeveloped area, such as a subdivision being developed, unless there are sufficient existing residents or businesses to make the extension economically feasible.  All extensions shall comply with the “Standard Specifications for Water & Sewer Construction in the State of Illinois”.  (See Appendix #2)


38-5-2 
EASEMENTS.  Applicants for main extensions shall deliver, without cost to the Village, permanent easements or right-of-way when necessary for the installation and maintenance of the extensions or subsequent additions thereto.  The Village shall not be obligated to authorize any construction until all requirements of this Chapter have been met.


38-5-3 
SIZE AND TYPE.  The Village reserves the right to determine and specify the diameter and type of pipe required to provide the service requested, and subject to the requirements of municipal authorities, its location within or without the limits of a street.  The Village further reserves the right to install a main larger in diameter than the main required to render the service requested, in which case, the Village will pay the difference in cost.


38-5-4 
TITLE.  Title to all main extensions shall be vested in the Village and the Village shall have the right to further extend any main installed in and to other streets or premises without repayment or refund to any applicant.  However, the Village reserves the right to consider extensions made at the applicant's expense and without written agreement as to service lines.  Upon such lines, the Village will set a meter at the beginning of the extension to measure all water used and title to the line beyond the meter will be vested in the customer who shall be responsible for maintenance and replacement, when necessary.


38-5-5
MAINTENANCE AND REPLACEMENT.  The Village, at its own expense, shall maintain and when necessary, replace the Village -owned mains used to supply water to its customers, and if adequate service requires the reconstruction or replacement of such mains, the mains shall be reconstructed or replaced by the Village at its expense.


38-5-6  -  38-5-9

RESERVED.

38-3
[Supplement No. 8; 06-01-24]

